Instructions for Use

MIP-Viewer

Table of Contents

1.	Intended purpose	3

2.	Indication	3

3.	Intended user	3

4.	Contraindications	3

5.	Side effects / interactions	3

6.	Warnings	3

7.	System requirements	3

8.	Information on the use of the application	4

9.	Software version	4

10.	Contact details	4

11.	Symbols	5

12.	Date of revision of the text	5

# Intended purpose

MIP-Viewer is a browser-based software application for interactive maximum intensity projection visualization of 3D medical image volumes in NIFTI format. It is intended for research, technical evaluation, and educational use.

# Indication

The application is indicated for visualization and exploratory review of existing volumetric imaging datasets, such as CTA scans, to study rendering behavior and volume structure.

# Intended user

Intended users are researchers, software developers, imaging scientists, and healthcare professionals with training in medical image visualization and interpretation of rendered volume data.

# Contraindications

Do not use this software for primary clinical diagnosis, treatment planning, or therapeutic decision-making. It must not be used as the sole basis for patient management.

# Side effects / interactions

No direct biological side effects are associated with software use. A potential risk is misinterpretation of rendered images if used outside the intended non-clinical context.

# Warnings

- This software is for research and usability testing only and is not certified for clinical diagnostic or therapeutic use. Large volumes may exceed WebGL2 texture limits or available GPU memory and can fail to load or render.

# System requirements

MIP-Viewer requires a desktop or laptop computer with a WebGL2-capable GPU, a modern browser with WebGL2 support and JavaScript enabled, and access to NIFTI (.nii/.nii.gz) files. Volume dimensions must satisfy WebGL2 texture limits. Practical limits are memory-bound: using an 8GB VRAM-GPU, we get approximately dimension limits of 512^3 voxels. Mobile devices are not supported. For local development, Node.js and npm are required.

# Information on the use of the application

Typical workflow: start the application, load a NIFTI (.nii.gz) volume, allow preprocessing to generate normalized volume and distance-map textures, then interact with camera controls and GUI options (marching method, skipping method, colormap, and debug views) to inspect MIP rendering results. If a dataset approaches hardware limits, enable downscaling to reduce dimensions before rendering.

# Software version

# Contact details

For questions about this software project, please contact:

MIP-Viewer Project Team (XaralampidisBasilis)

Web: https://github.com/XaralampidisBasilis/MIP-Viewer

E-Mail: xaralampidisbasilis@gmail.com

Phone: Not provided

# Date of revision of the text

2026-04-01