Instructions for Use

MIP-Viewer

Table of Contents

1.	Intended purpose	3

2.	Indication	3

3.	Intended user	3

4.	Contraindications	3

5.	Side effects / interactions	3

6.	Warnings	3

7.	System requirements	3

8.	Information on the use of the application	4

9.	Software version	4

10.	Contact details	4

11.	Symbols	5

12.	Date of revision of the text	5

# Intended purpose

MIP-Viewer is a browser-based software application for interactive maximum intensity projection visualization of 3D medical image volumes in NIFTI format. It is intended for research, technical evaluation, and educational use.

# Indication

The application is indicated for visualization and exploratory review of existing volumetric imaging datasets, such as CTA scans, to study rendering behavior and volume structure.

# Intended user

Intended users are researchers, software developers, imaging scientists, and healthcare professionals with training in medical image visualization and interpretation of rendered volume data.

# Contraindications

Do not use this software for primary clinical diagnosis, treatment planning, or therapeutic decision-making. It must not be used as the sole basis for patient management.

# Side effects / interactions

No direct biological side effects are associated with software use. A potential risk is misinterpretation of rendered images if used outside the intended non-clinical context.

# Warnings

- This software is for research and usability testing only and is not certified for clinical diagnostic or therapeutic use.

# System requirements

MIP-Viewer requires a desktop or laptop computer with a WebGL2-capable GPU, a modern browser with WebGL2 support and JavaScript enabled, and access to NIFTI volume files. Mobile devices are not supported. For local development, Node.js and npm are required.

# Information on the use of the application

Typical workflow: start the application, load a NIFTI (.nii.gz) volume, allow preprocessing to generate normalized volume and distance-map textures, then interact with camera controls and GUI options (marching method, skipping method, colormap, and debug views) to inspect MIP rendering results.

# Software version

MIP-Viewer software version: package.json version 0.0.0, git commit 9f9eeb9.

# Contact details

For questions about this software project, please contact:

MIP-Viewer Project Team (XaralampidisBasilis)

Remote repository project; no physical support address specified.

Web: https://github.com/XaralampidisBasilis/MIP-Viewer

E-Mail: xaralampidisbasilis@gmail.com

Phone: Not provided

# Date of revision of the text

2026-04-01